System Piping Length – RFP Table Adjustment Request

| Category | Pipe Spec | Pipe Size Range [inch] | Total Installed New-Work Pipe Length [ft] | Labour Cost | Material Cost |
| --- | --- | --- | --- | --- | --- |
| 20.2 - Clean Air Distribution | Ps | ½” to 1-1/2” | 220 |  |  |
| 20.3 - Clean Oxygen Distribution | Ps | ¾” to 2” | 145 |  |  |
| 20.4 - Process Vent System | Pa | 1” to 3” | 77 |  |  |
| 20.5 - Process Piping System | Ps | 1” | 60 |  |  |
| Equipment Rentals (Cranes, Lifts, etc.) |  |  |  |  |  |
| Startup Support |  |  |  |  |  |
| Testing & Documentation |  |  |  |  |  |
| Project Management |  |  |  |  |  |
| General Conditions (Shipping/Crating, Mobilization, Cleanup, etc.) |  |  |  |  |  |
| Other (Specify): |  |  |  |  |  |
| Other (Specify): |  |  |  |  |  |
| Other (Specify): |  |  |  |  |  |

Notes:

- Given the above information, the total pipe length is equal to 502 feet.

- Measurement: All measurements are taken from the centerline as shown on the layout drawings.

- Total piping lengths are added regardless of piping size.

- Only Solid piping lengths are added; translucent piping is considered Existing and is considered Out of Scope.

- RFP Note 8: All dimensions shown on the layout are intended for general route/locations only. The contractor must coordinate exact routes and locations on site.